## Instructions
Instructions for Completing Information
1. Indicate all equipment removed from facility include tag name and brief description in the "Equipment Removed" Tab. The tag name needs to mach the tag name in the list provided by the university.
2. Add all new equipment and components as called for in the specifications on New Equipment Tab.

## Equipment Removed
Name of Project
Building
Information to be Completed by Consultant
FAMIS Equipment # | Equipment Tag (i.e. EX-8) | Floor Location | Room Location | Date put out of service(Construction Start Date) | Description | Area Served: i.e. floor or room numbers

## New Equipment
Name of Project | 0
Building | 0
Information to be Completed by Consultant
Information to be Completed by Contractor/CM
Information Completed by SU | [9 empty] | Automatically Populated |  | Complete Columns When Applicable
FAMIS Equipment # | FAMIS Parent Equipment # | Equipment Tag (i.e. EX-8) | Manufacturer | Model | Serial # | Floor Location | Room Location | Date put into service | Equipment Description | Keyword (i.e. Heat Exch) | Trade | Belt | Filter | Motor MFG | Motor RPM | Motor Phase | Motor Amps | Motor Volts | Motor NEMA Frame Size | Motor Model | Motor H.P | Warranty Information | Installing Contractor | Local Equipment Representative | Description | Area Served: i.e. floor or room numbers
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
[10 empty] | #N/A | #N/A
Note on M9: Size and quantity
Note on N9: Size and type of filter
Note on W9: Any special or extended warranty above typical 1 year. For example, a 20 year roof warranty

## Data
EQUIPMENT TYPE DESCRIPTION | KEYWORD DESCRIPTION | KEYWORD | EQUIPMENT TYPE
| AIR CONDITIONER | A C EQUIP | HVAC
| FIRE ALARM | ALARM FIRE | Electronic
| BACKFLOW PREVENTER | BACKFLOW | Plumbing
| BOILER, NATURAL GAS | BOILER NG | Stmfttr
| BUILDING | BUILDING | Facility
| CHILLER | CHILLER | HVAC
| CUSTODIAL EQUIPMENT | CLEANING | Custodial
| COMPACTOR | COMPACTOR | Custodial
| COMPRESSOR, ALL TYPES | COMPRESSOR | Machinist
| CONDENSER FOR HVAC | CONDENSER | HVAC
| COOLER | COOLER | HVAC
| CONDENSATE RETURN UNIT | CRU | HVAC
| NET CONTROLLER | CX | ESSM
| DAMPER | DAMPER | HVAC
| DEHUMIDIFIER | DE-HUMID | HVAC
| DOMESTIC HOT WATER HEATER ELECTRIC | DHWE | Plumbing
| DOMESTIC HOT WATER HEATER GAS | DHWG | Plumbing
| DOMESTIC HOT WATER PUMP | DHWP | Plumbing
| DOMESTIC HOT WATER HEATER STEAM | DHWS | Plumbing
| DINING AREAS ON CAMPUS | DINING | Facility
| DISHWASHER | DISHWASHER | HVAC
| DOOR | DOOR | Machinist
| STORMWATER MANAGEMENT | DRAINAGE | Plumbing
| AIR DRYER COMPRESSED AIR | DRYER AIR | HVAC
| CLOTHES DRYER | DRYER CLTH | HVAC
| EVAPORATOR | EVAPORATOR | HVAC
| EYEWASH/SAFETY SHOWER | EYEWASH | Plumbing
| FAN AND COIL UNIT | FAN & COIL | HVAC
| CIRCULATING FAN | FAN CIRCU | HVAC
| EXHAUST FAN | FAN EXH | HVAC
| RETURN FAN | FAN RETURN | HVAC
| SUPPLY FAN | FAN SUPPLY | HVAC
| FILTER | FILTER | HVAC
| FLOOR DRAIN | FLOOR DRN | Plumbing
| FLUID LOOP | FLUID LOOP | Stmfttr
| FOOD SERVICE ITEMS | FOOD SERVICE | HVAC
| FREEZER | FREEZER | HVAC
| FUME HOOD | FUME HOOD | HVAC
| FURNACE | FURNACE | Stmfttr
| GENERATOR | GENERATOR | Electrical
| HEAT EXCHANGER | HEAT EXCH | Stmfttr
| HEAT RECOVERY SYSTEM | HEAT RECOV | Stmfttr
| HEATING AND VENTILATION UNITS | HEAT VENT | HVAC
| CABINET HEATER | HEATER CAB | HVAC
| GAS FIRED RADIANT HEATER | HEATER RAD | HVAC
| HEAT PUMP | HEATPUMP | HVAC
| HUMIDIFIER | HUMIDIFIER | Stmfttr
| ICE BANK, BEER LINES | ICE BANK | HVAC
| ICE MAKER | ICE MACHIN | HVAC
| INDUCTION UNIT | IND. UNIT | HVAC
| TRUCK LIFT ETC. | LIFT | Machinist
| EMERGENCY LIGHT | LIGHT EMER | Electrical
| LIGHT POLE | LIGHTPOLE | Electrical
| MOTOR | MOTOR | HVAC
| POT MACHINE | POTMACHINE | HVAC
| PRESSURE REGULATING UNIT | PRU | Stmfttr
| PRESSURE RELIEF VALVE | PRV | Stmfttr
| PACKAGE TERMINAL AC UNIT | PTAC | HVAC
| PUMP - BOOSTER | PUMP BOOST | Stmfttr
| PUMP - CIRCULATION | PUMP CIR | Stmfttr
| PUMP - CHILLED WATER | PUMP CW | Stmfttr
| PUMP - FIRE | PUMP FIRE | Stmfttr
| GLYCOL PUMP | PUMP GLY | Stmfttr
| PUMP - HOT WATER | PUMP HW | Stmfttr
| JOCKEY PUMP FOR FIRE SPRINKLER | PUMP JOCKY | Plumbing
| PUMP SUPPLY ALL TYPES | PUMP SPLY | Stmfttr
| PUMPS - SUMP/SEWAGE | PUMP SUMP | Plumbing
| PUMP VACUUM, ALL TYPES | PUMP VAC | Machinist
| COMPRESSOR RACK | RACK | HVAC
| REFRIGERANT CONTAINER | REF CONT | HVAC
| REFRIGERANT TRACKING SYSTEM | REF TRACK | HVAC
| REHEAT VAVS | REHEAT | HVAC
| ROOF | ROOF | Roofer
| CARBON MONOXIDE SENSOR | SENSOR-CO | Electronic
| STAGE LIFT | STAGE LIFT | Contracted
| STEAM STERILIZER | STERILIZER | Stmfttr
| STEAM TRAP | STM TRAP | Stmfttr
| TANK - STORAGE, HOLDING, TRANSFER | TANK | Stmfttr
| COOLING TOWER | TOWER CLG | HVAC
| TRAY BELT | TRAY BELT | HVAC
| TURF EQUIPMENT | TURF | Auto Garag
| UNIT HEATER HW&STM | UNIT HTR | HVAC
| UNIT VENTILATOR | UNIT VENT | HVAC
| INDUSTRIAL VACUUM | VACUUM | Machinist
| VAV BOX | VAV | HVAC
| ALL VEHICLES | VEHICLE | Auto Garag
| VARIABLE SPEED DRIVE | VSD | Electrical
| CLOTHES WASHER | WASHER CLH | Plumbing
| WAVE POOL | WAVE POOL | Plumbing